## Enzymes
SN | Items | Ref/LOT No. | Quantity | Unit | Expiry date | Manufacturing Date | Date Opened | Storage condition | Box number | Concentration | Manufacturer | Catalog Number | Remarks
1 | Taq DNA Polymerase | ENZ-2024-001 | 10 | vials | 2025-12-31 | 2024-01-15 |  | -20°C | Enzyme Box E1 | 5 U/µL | Thermo Fisher | EP0402 | Standard Taq for PCR
2 | Pfu DNA Polymerase | ENZ-2024-002 | 5 | vials | 2025-11-30 | 2024-02-01 |  | -20°C | Enzyme Box E1 | 2.5 U/µL | Promega | M7741 | High-fidelity enzyme
3 | Proteinase K | ENZ-2024-003 | 8 | vials | 2025-10-31 | 2024-03-10 |  | -20°C | Enzyme Box E2 | 20 mg/mL | Qiagen | 19131 | For DNA extraction
4 | RNase A | ENZ-2024-004 | 6 | tubes | 2025-09-30 | 2024-04-01 | 2024-06-15 | -20°C | Enzyme Box E2 | 10 mg/mL | Thermo Fisher | EN0531 | DNase-free preparation
5 | DNase I | ENZ-2024-005 | 4 | vials | 2025-08-31 | 2024-05-01 |  | -20°C | Enzyme Box E3 | 1 U/µL | NEB | M0303S | RNase-free

## PCR Reagents
SN | Items | Ref/LOT No. | Quantity | Unit | Expiry date | Manufacturing Date | Date Opened | Storage condition | Box number | Concentration | Manufacturer | Catalog Number | Remarks
1 | dNTP Mix (10mM each) | PCR-2024-001 | 15 | tubes | 2025-06-30 | 2024-02-01 |  | -20°C | PCR Box P1 | 10 mM | Promega | U1515 | For standard PCR
2 | MgCl2 Solution | PCR-2024-002 | 10 | tubes | 2026-01-31 | 2024-03-15 |  | -20°C | PCR Box P1 | 25 mM | Thermo Fisher | R0971 | PCR grade
3 | 10X PCR Buffer | PCR-2024-003 | 8 | bottles | 2025-12-31 | 2024-01-20 | 2024-04-01 | -20°C | PCR Box P2 | 10X | Invitrogen | 18067017 | With MgCl2
4 | Nuclease-Free Water | PCR-2024-004 | 20 | bottles | 2027-06-30 | 2024-06-01 |  | -20°C | PCR Box P3 | N/A | Ambion | AM9937 | Molecular biology grade

## qPCR Reagents
SN | Items | Ref/LOT No. | Quantity | Unit | Expiry date | Manufacturing Date | Date Opened | Storage condition | Box number | Concentration | Manufacturer | Catalog Number | Remarks
1 | SYBR Green Master Mix | QPC-2024-001 | 5 | bottles | 2025-09-30 | 2024-04-01 | 2024-06-15 | -20°C | qPCR Box Q1 | 2X | Applied Biosystems | 4367659 | For qPCR assays
2 | TaqMan Universal Master Mix | QPC-2024-002 | 3 | bottles | 2025-10-31 | 2024-05-01 |  | -20°C | qPCR Box Q1 | 2X | Thermo Fisher | 4304437 | For probe-based qPCR
3 | ROX Reference Dye | QPC-2024-003 | 10 | tubes | 2026-03-31 | 2024-06-01 |  | -20°C | qPCR Box Q2 | 50X | Invitrogen | 12223012 | Passive reference

## Primers
SN | Items | Ref/LOT No. | Quantity | Unit | Expiry date | Manufacturing Date | Date Opened | Storage condition | Box number | Concentration | Manufacturer | Catalog Number | Remarks
1 | Forward Primer - GAPDH | PRM-2024-001 | 25 | tubes | 2026-01-15 | 2024-03-10 |  | -20°C | Primer Box 1 | 100 µM | IDT | Custom | Human GAPDH forward
2 | Reverse Primer - GAPDH | PRM-2024-002 | 25 | tubes | 2026-01-15 | 2024-03-10 |  | -20°C | Primer Box 1 | 100 µM | IDT | Custom | Human GAPDH reverse
3 | Forward Primer - Beta-actin | PRM-2024-003 | 20 | tubes | 2026-02-28 | 2024-04-15 |  | -20°C | Primer Box 1 | 100 µM | IDT | Custom | Human Beta-actin forward
4 | Reverse Primer - Beta-actin | PRM-2024-004 | 20 | tubes | 2026-02-28 | 2024-04-15 |  | -20°C | Primer Box 1 | 100 µM | IDT | Custom | Human Beta-actin reverse
5 | M13 Forward (-20) | PRM-2024-005 | 30 | tubes | 2026-06-30 | 2024-05-01 |  | -20°C | Primer Box 2 | 100 µM | Thermo Fisher | N52002 | Universal sequencing primer
6 | M13 Reverse | PRM-2024-006 | 30 | tubes | 2026-06-30 | 2024-05-01 |  | -20°C | Primer Box 2 | 100 µM | Thermo Fisher | N53002 | Universal sequencing primer

## Diagnostic Kits
SN | Items | Ref/LOT No. | Quantity | Unit | Expiry date | Manufacturing Date | Date Opened | Storage condition | Box number | Concentration | Manufacturer | Catalog Number | Remarks
1 | HIV-1/2 Rapid Test Kit | KIT-2024-001 | 50 | kits | 2025-03-31 | 2024-01-01 |  | 2-8°C | Kit Storage K1 | N/A | Abbott | 08FK10 | 25 tests per kit
2 | Syphilis Test Cassettes | KIT-2024-002 | 100 | cassettes | 2025-04-30 | 2024-02-15 |  | Room Temperature | Kit Storage K2 | N/A | SD Biosensor | 11FK20 | Individual cassettes
3 | HBsAg Test Kit | KIT-2024-003 | 30 | kits | 2025-05-31 | 2024-03-01 |  | 2-8°C | Kit Storage K1 | N/A | Wondfo | W040 | 40 tests per kit
4 | Malaria RDT (Pf/Pv) | KIT-2024-004 | 200 | cassettes | 2025-07-31 | 2024-04-01 |  | Room Temperature | Kit Storage K3 | N/A | CareStart | G0151 | Combo test

## Cartridges
SN | Items | Ref/LOT No. | Quantity | Unit | Expiry date | Manufacturing Date | Date Opened | Storage condition | Box number | Concentration | Manufacturer | Catalog Number | Remarks
1 | GeneXpert MTB/RIF Cartridge | CAR-2024-001 | 20 | cartridges | 2025-07-31 | 2024-03-01 |  | 2-28°C | Cartridge Box C1 | N/A | Cepheid | GXMTB/RIF-10 | 10-pack boxes
2 | GeneXpert HIV-1 VL Cartridge | CAR-2024-002 | 15 | cartridges | 2025-08-31 | 2024-04-01 |  | 2-28°C | Cartridge Box C1 | N/A | Cepheid | GXHIV-VL-10 | 10-pack boxes
3 | GeneXpert HCV VL Cartridge | CAR-2024-003 | 10 | cartridges | 2025-09-30 | 2024-05-01 |  | 2-28°C | Cartridge Box C2 | N/A | Cepheid | GXHCV-VL-10 | 10-pack boxes

## Electrophoresis
SN | Items | Ref/LOT No. | Quantity | Unit | Expiry date | Manufacturing Date | Date Opened | Storage condition | Box number | Concentration | Manufacturer | Catalog Number | Remarks
1 | Agarose (Molecular Grade) | ELE-2024-001 | 3 | bottles | 2027-12-31 | 2024-01-20 | 2024-03-01 | Room Temperature | Shelf C3 | N/A | Bio-Rad | 1613102 | 500g bottles
2 | Ethidium Bromide | ELE-2024-002 | 1 | bottle | 2026-06-30 | 2023-12-01 | 2024-02-01 | 4°C | Refrigerator R1 | 10 mg/mL | Sigma-Aldrich | E1510 | Handle with care
3 | DNA Ladder 100bp | ELE-2024-003 | 15 | tubes | 2025-08-31 | 2024-05-01 |  | -20°C | Freezer Box A3 | 0.5 µg/µL | NEB | N3231S | Ready-to-use
4 | DNA Ladder 1kb | ELE-2024-004 | 12 | tubes | 2025-09-30 | 2024-05-15 |  | -20°C | Freezer Box A3 | 0.5 µg/µL | NEB | N3232S | Ready-to-use
5 | 10X TBE Buffer | ELE-2024-005 | 5 | bottles | 2026-12-31 | 2024-06-01 |  | Room Temperature | Chemical Shelf S1 | 10X | Thermo Fisher | B52 | 1L bottles
6 | 6X Loading Dye | ELE-2024-006 | 8 | tubes | 2025-12-31 | 2024-04-01 |  | -20°C | Freezer Box A4 | 6X | Thermo Fisher | R0611 | Blue/orange

## Buffers and Solutions
SN | Items | Ref/LOT No. | Quantity | Unit | Expiry date | Manufacturing Date | Date Opened | Storage condition | Box number | Concentration | Manufacturer | Catalog Number | Remarks
1 | PBS Buffer (10X) | BUF-2024-001 | 10 | bottles | 2026-06-30 | 2024-02-01 |  | Room Temperature | Chemical Shelf S2 | 10X | Gibco | 70011044 | 500mL bottles
2 | TE Buffer | BUF-2024-002 | 8 | bottles | 2026-12-31 | 2024-03-01 |  | Room Temperature | Chemical Shelf S2 | 1X | Invitrogen | AM9849 | pH 8.0
3 | EDTA Solution (0.5M) | BUF-2024-003 | 5 | bottles | 2027-01-31 | 2024-04-01 |  | Room Temperature | Chemical Shelf S3 | 0.5 M | Sigma-Aldrich | E7889 | pH 8.0
4 | Tris-HCl Buffer | BUF-2024-004 | 6 | bottles | 2026-09-30 | 2024-05-01 |  | Room Temperature | Chemical Shelf S3 | 1 M | Fisher Scientific | BP1531 | pH 7.4